## Clash report
Selection Set | A - Ceilings | A - Core Walls | A - Doors | A - Railings | A - Windows | Drain Pipes | M - Air Terminal | M - Chanel Profiles | M - Duct Hangars | M - Ducts and Duct Fittings | M - Fire Pipe Hangars | M - Fire Protection Pipes | M - Mechanical Equipments | M - Sanitary and Vent and DrainPipes | M - Sanitary Pipe Hangars | S - Columns | S - Foundations | S - Girder Beams | Total
A - Ceilings | N/A | N/A | N/A | N/A | N/A | 117 | 396 | 30 | 1336 | 805 | 38 | 207 | 41 | 526 | 64 | N/A | N/A | N/A | 3560
A - Core Walls | N/A | N/A | N/A | N/A | N/A | 1402 | 0 | 158 | 296 | 617 | 24 | 183 | 46 | 2426 | 29 | N/A | N/A | N/A | 5181
A - Doors | N/A | N/A | N/A | N/A | N/A | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 12
A - Railings | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 0
A - Windows | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | N/A | N/A | N/A | 3
Drain Pipes | 117 | 1402 | 12 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 2 | 1533
M - Air Terminal | 396 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 396
M - Chanel Profiles | 30 | 158 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 12 | 200
M - Duct Hangars | 1336 | 296 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 94 | 1726
M - Ducts and Duct Fittings | 805 | 617 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5 | 0 | 164 | 1591
M - Fire Pipe Hangars | 38 | 24 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | 0 | 38 | 101
M - Fire Protection Pipes | 207 | 183 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 37 | 427
M - Mechanical Equipments | 41 | 46 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 7 | 94
M - Sanitary and Vent and DrainPipes | 526 | 2426 | 0 | 0 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5 | 2 | 231 | 3193
M - Sanitary Pipe Hangars | 64 | 29 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 32 | 125
S - Columns | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 0 | 5 | 0 | N/A | N/A | N/A | 11
S - Foundations | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | N/A | N/A | N/A | 2
S - Girder Beams | N/A | N/A | N/A | N/A | N/A | 2 | 0 | 12 | 94 | 164 | 38 | 37 | 7 | 231 | 32 | N/A | N/A | N/A | 617
Total | 3560 | 5181 | 12 | 0 | 3 | 1533 | 396 | 200 | 1726 | 1591 | 101 | 427 | 94 | 3193 | 125 | 11 | 2 | 617 | 9386